## instrument_types
Instrument_Type | Description
PIT | Pressure Indicator Transmitter
PI | Pressure Indicator
PT | Pressure Transmitter
TIC | Temperature Indicator Controller
TI | Temperature Indicator
TT | Temperature Transmitter
LIT | Level Indicator Transmitter
LI | Level Indicator
LT | Level Transmitter
FIT | Flow Indicator Transmitter
FI | Flow Indicator
FT | Flow Transmitter
PSV | Pressure Safety Valve
PSHH | Pressure Switch High High
PSH | Pressure Switch High
PSL | Pressure Switch Low
PSLL | Pressure Switch Low Low
TSH | Temperature Switch High
TSL | Temperature Switch Low
LSHH | Level Switch High High
LSH | Level Switch High
LSL | Level Switch Low
LSLL | Level Switch Low Low
FSHH | Flow Switch High High
FSH | Flow Switch High
FSL | Flow Switch Low
FSLL | Flow Switch Low Low
PCV | Pressure Control Valve
TCV | Temperature Control Valve
LCV | Level Control Valve
FCV | Flow Control Valve
XV | Shutdown Valve
MOV | Motor Operated Valve
SOV | Solenoid Operated Valve
SDV | Shutdown Valve
ESDV | Emergency Shutdown Valve
BDV | Blowdown Valve
NRV | Non Return Valve
VSD | Variable Speed Drive
PDL | Pressure Differential Low
PDI | Pressure Differential Indicator
PDIT | Pressure Differential Indicator Transmitter
TE | Temperature Element
LE | Level Element
FE | Flow Element
XSD | Fire Detector
XSH | Heat Detector
XGA | Gas Analyzer
XA | Alarm Transmitter
CC | Corrosion Coupon
HSD | High Shutdown
PSAH | Pressure Switch Alarm High
PSDH | Pressure Switch Differential High
PSDL | Pressure Switch Differential Low
PSAL | Pressure Switch Alarm Low
CVZI | Control Valve
CVZT | Control Valve Transmitter
XTGA | Gas Analyzer Transmitter
PPHS | Pushbutton
RIT | Radiation Indicator Transmitter
RI | Radiation Indicator
RSH | Radiation Switch High
RSL | Radiation Switch Low
HIC | Hand Indicator Controller
HSH | High Level Shutdown
HSL | Low Level Shutdown
MLI | Magnetic Level Indicator
VTI | Vibration Transmitter Indicator
VSH | Vibration Switch High
VSL | Vibration Switch Low
VSDC | Vibration Shutdown Controller
PH | pH Analyzer
PHA | pH Analyzer Transmitter
CL | Chlorine Analyzer
CLA | Chlorine Analyzer Transmitter
CO | Conductivity Analyzer
COD | Conductivity Analyzer Transmitter
DO | Dissolved Oxygen Analyzer
DOA | Dissolved Oxygen Analyzer Transmitter
FO | Filter Differential Pressure Transmitter
AI | Analyzer Indicator
AIT | Analyzer Indicator Transmitter
BSH | Breaker Switch High
BSL | Breaker Switch Low
QSH | Quality Switch High
QSL | Quality Switch Low
NLA | Nitrogen Leak Analyzer
NLAH | Nitrogen Leak Analyzer High
DPT | Differential Pressure Transmitter
DPI | Differential Pressure Indicator
DPIT | Differential Pressure Indicator Transmitter
PIH | Pressure Indicator High
PIL | Pressure Indicator Low
PIP | Pipeline Pressure Indicator